TCG NEBS COMPLIANCE TEST Report FOR:

<Name of Company>

<Company Address>

Product: <Product Name>

Part 12

steady state power induction

Section 5, GR-1089-CORE

Telcordia Technologies GR-1089, Issue 6, May 2011

Date: <<date>>

Project: <Project #, if applicable>

Job: <Job #, if applicable>

Report: <Report #>

TABLE OF CONTENTS

Page

Test Results Summary	3

Overview	4

Analog Loop Criteria (5.2.3.2)	5

Digital Loop Testing (5.2.3.3)	7

Line/Span Powering Loop Testing (5.2.3.4)	9

Appendix A	10

- LIST OF TABLES

Page

Table 12-1: Steady State Power Induction Summary of Test Results	3

Table 12-2: Analog Loop Performance Detailed List of Test Equipment	6

Table 12-3: Digital Loop Testing Detailed List of Test Equipment	8

- LIST OF FIGURES

Page

Error! No table of figures entries found.

## Test Results Summary

<<Summarize the test results here, including hardware changes or changes in product configuration during the testing.  While this is a summary, it should contain most of the relevant details to the tests and the test results>>

### Column Heading Definitions for Summary of Test Results Table

The following Summary of Test Results table contains these columns of information:

- Section column gives the Section numbers from GR-1089-CORE.

- Section Name column gives the Section name from GR-1089-CORE.

- Criteria column gives the local number of the requirement (e.g., R3-1) from GR-1089-CORE and the absolute number of the requirement (e.g., [2]).

- Results column gives the results of the evaluation (Compliant, Non-compliant, etc.).

- Compliant: The Equipment Under Test met the requirements of the corresponding criteria.

- Non-compliant: The Equipment Under Test did not meet the requirements of the corresponding criteria.

- NA: The criteria were Not Applicable to Equipment Under Test {Explanation Required}

- ENR: An Evaluation, to these criteria, was Not Requested by the customer.

- Page column gives the page number, in this report, for the corresponding criteria.

Table 12-1: Steady State Power Induction Summary of Test Results

| ##### Section | ##### Section Name | ##### Criteria | ##### Results #### Pass/ Fail/ NA | ##### Comments | ##### Page |
| --- | --- | --- | --- | --- | --- |
| 5. | Steady-State Power Induction | - |  | - | - |
| 5.2 | Longitudinal Induction Criteria | - |  | - | - |
| 5.2.3.2 | Analog Loop Criteria | R5-1 [42] |  |  | 5 |
|  |  | CR5-2 [43] |  |  | 5 |
|  |  | R5-3 [44] |  |  | 5 |
|  |  | CR5-4 [45] |  |  | 5 |
| 5.2.3.3 | Digital Loop Testing | R5-5 [46] |  |  | 7 |
|  |  | CR5-6 [243] |  | - | 7 |
| 5.2.3.4 | Line/Span Powering Loop Testing | R5-7 [244] |  |  | 9 |
|  |  | CR5-8 [245] |  |  | 9 |

NA: Not Applicable

## Overview

### Project Objective

Testing was performed to determine if the <Product Name> met the requirements for Section 5, Steady State Power Induction, of Telcordia Technologies GR-1089-CORE, Issue 6, May 2011.

### Equipment Configuration and Test Conditions

<Specify number of samples tested>

<<Describe EUT Configuration using photographs, diagrams, words, or any combination thereof>>

<<Detailed pack-fill information should be entered in a table in Appendix A at the end of this section>>

### Equipment Operating Conditions

<<Place pictures and diagrams of EUT operational set-up>>

### Pass/ Fail Criteria

<<Provide pass/fail criteria for the test>>

## Analog Loop Criteria (5.2.3.2)

### Criteria:

R5-1 [42]	The signaling and supervisory functions (i.e., on-hook, off-hook, ringing, voice) of the EUT shall function properly without degradation of performance when the EUT is connected to the appropriate test circuit while 50 Vrms is induced into the test circuit.

CR5-2 [43]	It is a conditional requirement that the signaling and supervisory functions (i.e., on-hook, off-hook, ringing, voice) shall function properly without degradation of performance when the EUT is connected to the appropriate test circuit while 80 Vrms is induced into the test circuit. This conditional requirement only applies to analog loops intended to be deployed at distances greater than 20kft.

R5-3 [44]	The C-Message weighted metallic noise at the customer end where the test circuit is applied shall not exceed 20 dBrnc with 50 Vrms applied.

CR5-4 [45]	It is a conditional requirement that the C-Message weighted metallic noise at the customer end where the test circuit is applied shall not exceed 20 dBrnc with 80 Vrms applied. This conditional requirement only applies to analog loops intended to be deployed at distances greater than 20 kft.

### Test Location

The following evaluation was performed by (Engineer Name) between/on date(s) at the <ITL Name and Address>.

### Test Method

<<Describe test method in detail>>

<< Include any additional test conditions (e.g. signal and power cable dressing) from the NEBS Compliance Checklist which pertain to the electromagnetic compatibility and electrical safety criteria>>

<<State if testing to the GR-1089-CORE test method and describe any deviations from the GR documented test method>>

### Test Results

The <Product Name> is compliant/ not compliant with Requirements R5-1 [42] and R5-3 [44] and Conditional Requirements CR5-2 [43] and CR5-4 [45].

<<Describe test results in detail where relevant. Include graphs, tables, scans, chart recorder data, etc. of test results>>

### Test Equipment Used

Table 12-2: Analog Loop Performance Detailed List of Test Equipment

| Description | Serial Number | Manufacturer | Model | Cal. Date | Cal. Due |
| --- | --- | --- | --- | --- | --- |

<<Fill out the table of test equipment used for this test ONLY>>

## Digital Loop Testing (5.2.3.3)

### Criteria:

R5-5 [46]	If BER is the appropriate performance measurement, the the BER shall be less than 1 x 10-7 when measured in the presence of an induced 50 Vrms. If BER is not the appropriate performance measurement, the performance monitoring metrics shall be within an acceptable range in a manner similar to that described in Section 2 and Section 3. In either case, a degradation of normally anticipated performance compared to when no voltage is applied is not permitted. The EUT will also function properly when the voltage is applied, and the EUT is synchronized or trained and shall not continue to operate properly when the induction voltage is then removed.

CR5-6 [243]	If BER is the appropriate performance measurement, then the BER shall be less than 1 x 10-7 when measured in the presence of an induced 80 Vrms if the EUT is intended to be deployed on loops longer than 20 kft. If BER is not the appropriate performance measurement, the performance monitoring metrics shall be within an acceptable range in a manner similar to that described in Section 2 and Section 3. In either case, a degradation of normally anticipated performance compared to when no voltage is applied is not permitted. The EUT will also function properly when the voltage is applied, and the EUT is synchronized or trained and shall not continue to operate properly when the induction voltage is then removed.

### Test Location

The following evaluation was performed by (Engineer Name) between/on date(s) at the <ITL Name and Address>.

### Test Method

<<Describe test method in detail>>

<< Include any additional test conditions (e.g. signal and power cable dressing) from the NEBS Compliance Checklist which pertain to the electromagnetic compatibility and electrical safety criteria>>

<<State if testing to the GR-1089-CORE test method and describe any deviations from the GR documented test method>>

### Test Results

The <Product Name> is compliant/ not compliant with Requirement R5-5 [46] and Conditional Requirement CR5-6 [243].

<<Describe test results in detail where relevant. Include graphs, tables, scans, chart recorder data, etc. of test results>>

### Test Equipment Used

Table 12-3: Digital Loop Testing Detailed List of Test Equipment

| Description | Serial Number | Manufacturer | Model | Cal. Date | Cal. Due |
| --- | --- | --- | --- | --- | --- |

<<Fill out the table of test equipment used for this test ONLY>>

## Line/Span Powering Loop Testing (5.2.3.4)

### Criteria:

R5-7 [244]	The powering circuitry shall properly operate the intended load in the presence of an induced 50 Vrms. The voltage of the powering circuit shall remain within manufacturer tolerances in the presence of an induced 50 Vrms. The powering circuitry shall not output continuous dc voltages that increase the voltage classification that are determined in Section 7. For instance, a Class A2 voltage of -48 Vdc shall not increase to a Class A3, or another case is a span/line powering supply that outputs A2 or A3 at -190 Vdc shall not output greater than -200 Vdc. If data is being transported along with line/span power, the data shall be monitored for proper functionality with the induced voltage present.

CR5-8 [245]	The powering circuitry shall properly operate the intended load in the presence of an induced 80 Vrms if the EUT is intended to be deployed on loops longer than 20 kft. The voltage of the powering circuit shall remain within manufacturer tolerances in the presence of an induced 80 Vrms. The powering circuitry shall not output continuous dc voltages that increase the voltage classification that are determined in Section 7. For instance, a Class A2 voltage of -48 Vdc shall not increase to a Class A3, or another case is a span/line powering supply that outputs A2 or A3 at -190 Vdc shall not output greater than -200 Vdc. If data is being transported along with line/span power, the data shall be monitored for proper functionality with the induced voltage present.

### Test Location

The following evaluation was performed by (Engineer Name) between/on date(s) at the <ITL Name and Address>.

### Test Method

<<Describe test method in detail>>

<< Include any additional test conditions (e.g. signal and power cable dressing) from the NEBS Compliance Checklist which pertain to the electromagnetic compatibility and electrical safety criteria>>

<<State if testing to the GR-1089-CORE test method and describe any deviations from the GR documented test method>>

### Test Results:

The <Product Name> is compliant/ not compliant with Requirement R5-7 [244] and Conditional Requirement CR5-8 [245].

<<Describe test results in detail where relevant. Include graphs, tables, scans, chart recorder data, etc. of test results>>

<<Insert tables with detailed description of equipment pack fill>>