TCG NEBS COMPLIANCE TEST Report FOR:

<Name of Company>

<Company Address>

Product: <Product Name>

Part 17

Criteria for DC Power Port of Telecommunications Load Equipment

Section 10, GR-1089-CORE

Telcordia Technologies GR-1089, Issue 6, August 2011

Date: <<date>>

Project: <Project #, if applicable>

Job: <Job #, if applicable>

Report: <Report #>

TABLE OF CONTENTS

Page

Overview	5

Input DC Voltage (10.1)	6

Minimum Operating Voltage (10.2)	7

Overvoltage (Steady State) (10.3)	8

Overvoltage transient (10.4)	9

Protective Device Operation Transient (10.5)	10

Noise Returned by the Network equipment (noise Emission) (10.6)	11

Power input noise immunity (10.7)	12

Markings and Documentation (10.8)	13

Appendix A	14

- LIST OF TABLES

Page

Table 17-1: Criteria for DC Power Port of Telecommunications Load Equipment Summary of Test Results	3

Table 17-2: Input DC Voltage Detailed List of Test Equipment	5

Table 17-3: Minimum Operating Voltage Detailed List of Test Equipment	6

Table 17-4: Overvoltage Detailed List of Test Equipment	7

Table 17-5: Overvoltage Transient Detailed List of Test Equipment	8

Table 17-6: Protective Device Operation Transient Detailed List of Test Equipment	9

Table 17-7: Noise Returned by the Network Equipment Detailed List of Test Equipment	10

Table 17-8: Power Input Noise Immunity Detailed List of Test Equipment	11

Table 17-9: Markings and Documentation Detailed List of Test Equipment	12

- LIST OF FIGURES

Page

Error! No table of figures entries found.

## Summary of Test Results

<<Summarize the test results here, including hardware changes or changes in product configuration during the testing.  While this is a summary, it should contain most of the relevant details to the tests and the test results>>

### Column Heading Definitions for Summary of Test Results Table

The following Summary of Test Results table contains these columns of information:

- Section column gives the Section numbers from GR-1089-CORE.

- Section Name column gives the Section name from GR-1089-CORE.

- Criteria column gives the local number of the requirement (e.g., R3-1) from GR-1089-CORE and the absolute number of the requirement (e.g., [2]).

- Results column gives the results of the evaluation (Compliant, Non-compliant, etc.).

- Compliant: The Equipment Under Test (<Product Name>) met the requirements of the corresponding criteria.

- Non-compliant: The <Product Name> did not meet the requirements of the corresponding criteria.

- NA: The criteria were Not Applicable to the <Product Name>.

- ENR: An Evaluation, to these criteria, was Not Requested by the customer.

- For additional details, go to the page listed in this report.

- Page column gives the page number, in this report, for the corresponding criteria.

Table 17-1: Criteria for DC Power Port of Telecommunications Load Equipment Summary of Test Results

| ##### Section | ##### Section Name | ##### Criteria | ##### Results #### Pass/ Fail/ NA | ##### Comments | ##### Page |
| --- | --- | --- | --- | --- | --- |
| 10. | Criteria for DC Power Port of Telecommunications Load Equipment | - | - |  | - |
| 10.1 | Input DC Voltage | R10-1 [247] |  |  | 5 |
| 10.2 | Minimum Operating Voltage | R10-2 [219] |  |  | 6 |
| 10.3 | Overvoltage (Steady State) | R10-3 [248] |  |  | 7 |
| 10.4 | Overvoltage Transient | R10-4 [222] |  |  | 8 |
| 10.5 | Protective Device Operation Transient | R10-5 [223] |  |  | 9 |
| 10.6 | Noise Returned by Network Equipment (Noise Emission) | R10-6 [249] |  |  | 10 |
| 10.7 | Power Input Noise Immunity | R10-7 [228] |  |  | 11 |
| 10.8 | Markings and Documentation | R10-8 [250] |  |  | 12 |

## Overview

### Project Objective

Testing was performed to determine if the <Product Name> met the requirements for Section 10, Criteria for DC Power Port of Telecommunications Load Equipment, of Telcordia Technologies GR-1089-CORE, Issue 6, May 2011.

### Equipment Configuration and Test Conditions

<Specify number of samples tested>

<<Describe EUT Configuration using photographs, diagrams, words, or any combination thereof>>

<<Detailed pack-fill information should be entered in a table in Appendix A at the end of this section>>

### Equipment Operating Conditions

<<Place pictures and diagrams of EUT operational set-up>>

### Pass/ Fail Criteria

<<Provide pass/fail criteria for the test>>

## Input DC Voltage (10.1)

### Criteria:

R10-1 [247]	The equipment shall operate within the minimum and maximum voltage range specified in ATIS 0600315, Tables 1 and 2, for the applicable nominal voltage of the equipment.

### Test Location

The following evaluation was performed by (Engineer Name) between/on date(s) at the <ITL Name and Address>.

### Test Method

<<Describe test method in detail>>

<< Include any additional test conditions (e.g. signal and power cable dressing) from the NEBS Compliance Checklist which pertain to the electromagnetic compatibility and electrical safety criteria>>

<<State if testing to the GR-1089-CORE test method and describe any deviations from the GR documented test method>>

### Test Results

The <Product Name> is compliant/ not compliant with Requirement R10-1 [247].

<<Describe test results in detail where relevant. Include graphs, tables, scans, chart recorder data, etc. of test results>>

### Test Equipment Used

Table 17-2: Input DC Voltage Detailed List of Test Equipment

| Description | Serial Number | Manufacturer | Model | Cal. Date | Cal. Due |
| --- | --- | --- | --- | --- | --- |

<<Fill out the table of test equipment used for this test ONLY>>

## Minimum Operating Voltage (10.2)

### Criteria:

R10-2 [219]	The equipment shall comply with ATIS 0600315, Requirement R-1

Note: GR-1089-CORE does not require conformance to R-2 (Voltage Cutoff and Voltage Recovery criteria) contained in ATIS 0600315, Section 5.2.2, due to the actual discharge characteristics of the modern battery plant.

### Test Location

The following evaluation was performed by (Engineer Name) between/on date(s) at the <ITL Name and Address>.

### Test Method

<<Describe test method in detail>>

<< Include any additional test conditions (e.g. signal and power cable dressing) from the NEBS Compliance Checklist which pertain to the electromagnetic compatibility and electrical safety criteria>>

<<State if testing to the GR-1089-CORE test method and describe any deviations from the GR documented test method>>

### Test Results

The <Product Name> is compliant/ not compliant with Requirement R10-2 [219].

<<Describe test results in detail where relevant. Include graphs, tables, scans, chart recorder data, etc. of test results>>

### Test Equipment Used

Table 17-3: Minimum Operating Voltage Detailed List of Test Equipment

| Description | Serial Number | Manufacturer | Model | Cal. Date | Cal. Due |
| --- | --- | --- | --- | --- | --- |

<<Fill out the table of test equipment used for this test ONLY>>

## Overvoltage (Steady State) (10.3)

### Criteria:

R10-3 [248]	The equipment shall comply with ATIS 0600315, Requirement R-3

### Test Location

The following evaluation was performed by (Engineer Name) between/on date(s) at the <ITL Name and Address>.

### Test Method

<<Describe test method in detail>>

<< Include any additional test conditions (e.g. signal and power cable dressing) from the NEBS Compliance Checklist which pertain to the electromagnetic compatibility and electrical safety criteria>>

<<State if testing to the GR-1089-CORE test method and describe any deviations from the GR documented test method>>

### Test Results

The <Product Name> is compliant/ not compliant with Requirements R10-3 [248].

<<Describe test results in detail where relevant. Include graphs, tables, scans, chart recorder data, etc. of test results>>

### Test Equipment Used

Table 17-4: Overvoltage Detailed List of Test Equipment

| Description | Serial Number | Manufacturer | Model | Cal. Date | Cal. Due |
| --- | --- | --- | --- | --- | --- |

<<Fill out the table of test equipment used for this test ONLY>>

## Overvoltage transient (10.4)

### Criteria:

R10-4 [222]	The equipment shall comply with ATIS 0600315, Requirement R-3

### Test Location

The following evaluation was performed by (Engineer Name) between/on date(s) at the <ITL Name and Address>.

### Test Method

<<Describe test method in detail>>

<< Include any additional test conditions (e.g. signal and power cable dressing) from the NEBS Compliance Checklist which pertain to the electromagnetic compatibility and electrical safety criteria>>

<<State if testing to the GR-1089-CORE test method and describe any deviations from the GR documented test method>>

### Test Results

The <Product Name> is compliant/ not compliant with Requirement R10-4 [222].

<<Describe test results in detail where relevant. Include graphs, tables, scans, chart recorder data, etc. of test results>>

### Test Equipment Used

Table 17-5: Overvoltage Transient Detailed List of Test Equipment

| Description | Serial Number | Manufacturer | Model | Cal. Date | Cal. Due |
| --- | --- | --- | --- | --- | --- |

<<Fill out the table of test equipment used for this test ONLY>>

## Protective Device Operation Transient (10.5)

### Criteria:

R10-5 [223]	The equipment shall comply with ATIS 0600315, Requirement R-5

### Test Location

The following evaluation was performed by (Engineer Name) between/on date(s) at the <ITL Name and Address>.

### Test Method

<<Describe test method in detail>>

<< Include any additional test conditions (e.g. signal and power cable dressing) from the NEBS Compliance Checklist which pertain to the electromagnetic compatibility and electrical safety criteria>>

<<State if testing to the GR-1089-CORE test method and describe any deviations from the GR documented test method>>

### Test Results

The <Product Name> is compliant/ not compliant with Requirement R10-5 [223].

<<Describe test results in detail where relevant. Include graphs, tables, scans, chart recorder data, etc. of test results>>

### Test Equipment Used

Table 17-6: Protective Device Operation Transient Detailed List of Test Equipment

| Description | Serial Number | Manufacturer | Model | Cal. Date | Cal. Due |
| --- | --- | --- | --- | --- | --- |

<<Fill out the table of test equipment used for this test ONLY>>

## noise returned by the Network equipment (noise Emission) (10.6)

### Criteria:

R10-6 [249]	The equipment shall comply with ATIS 0600315, Requirement R-7, with the following:

- ATIS Section 5.6.2.1, “Voice Frequency Noise Requirements” are not required

- ATIS Section 6.6.2.2, “Wideband Frequency Noise Requirements” with the exception that the noise limit is a function of the maximum input current of the telecommunication load equipment, measurement in amperes, or 10.0 A, whichever is greater.

### Test Location

The following evaluation was performed by (Engineer Name) between/on date(s) at the <ITL Name and Address>.

### Test Method

<<Describe test method in detail>>

<< Include any additional test conditions (e.g. signal and power cable dressing) from the NEBS Compliance Checklist which pertain to the electromagnetic compatibility and electrical safety criteria>>

<<State if testing to the GR-1089-CORE test method and describe any deviations from the GR documented test method>>

### Test Results

The <Product Name> is compliant/ not compliant with Conditional Requirement R10-6 [249].

<<Describe test results in detail where relevant. Include graphs, tables, scans, chart recorder data, etc. of test results>>

### Test Equipment Used

Table 17-7: Noise Returned by the Network Equipment Detailed List of Test Equipment

| Description | Serial Number | Manufacturer | Model | Cal. Date | Cal. Due |
| --- | --- | --- | --- | --- | --- |

<<Fill out the table of test equipment used for this test ONLY>>

## Power input noise immunity (10.7)

### Criteria:

R10-7 [228]	The equipment shall comply with ATIS-0600315, Requirement R-6. The analog voiceband tests shall apply only to equipment with analog voiceband (e.g., POTS, modems) ports.

### Test Location

The following evaluation was performed by (Engineer Name) between/on date(s) at the <ITL Name and Address>.

### Test Method

<<Describe test method in detail>>

<< Include any additional test conditions (e.g. signal and power cable dressing) from the NEBS Compliance Checklist which pertain to the electromagnetic compatibility and electrical safety criteria>>

<<State if testing to the GR-1089-CORE test method and describe any deviations from the GR documented test method>>

### Test Results

The <Product Name> is compliant/ not compliant with Requirement R10-7 [228].

<<Describe test results in detail where relevant. Include graphs, tables, scans, chart recorder data, etc. of test results>>

### Test Equipment Used

Table 17-8: Power Input Noise Immunity Detailed List of Test Equipment

| Description | Serial Number | Manufacturer | Model | Cal. Date | Cal. Due |
| --- | --- | --- | --- | --- | --- |

<<Fill out the table of test equipment used for this test ONLY>>

## Markings and Documentation (10.8)

### Criteria:

R10-8 [250]	The equipment shall comply with ATIS 0600315, Requirement R-8

### Test Location

The following evaluation was performed by (Engineer Name) between/on date(s) at the <ITL Name and Address>.

### Test Method

<<Describe test method in detail>>

<< Include any additional test conditions (e.g. signal and power cable dressing) from the NEBS Compliance Checklist which pertain to the electromagnetic compatibility and electrical safety criteria>>

<<State if testing to the GR-1089-CORE test method and describe any deviations from the GR documented test method>>

### Test Results

The <Product Name> is compliant/ not compliant with Requirement R10-8 [250].

<<Describe test results in detail where relevant. Include graphs, tables, scans, chart recorder data, etc. of test results>>

### Test Equipment Used

Table 17-9: Markings and Documentation Detailed List of Test Equipment

| Description | Serial Number | Manufacturer | Model | Cal. Date | Cal. Due |
| --- | --- | --- | --- | --- | --- |

<<Fill out the table of test equipment used for this test ONLY>>

<<Insert tables with detailed description of equipment pack fill>>