TCG NEBS COMPLIANCE TEST Report FOR:

<Name of Company>

<Company Address>

Product: <Product Name>

Part 22

Equipment Handling Criteria

Section 4.3, GR-63-CORE

Telcordia Technologies GR-63, Issue 4, April 2012

Date: <<date>>

Project: <Project #, if applicable>

Job: <Job #, if applicable>

Report: <Report #>

TABLE OF CONTENTS

Page

Test Results Summary	3

Overview	4

Category A Containers (4.3.1.1)	5

Category B Containers (4.3.1.2)	6

Unpackaged Equipment Shock Criteria (4.3.2)	7

Appendix A	8

- LIST OF TABLES

Page

Table 22-1: Equipment Handling Summary of Test Results	3

Table 22-2: Category A Containers Detailed List of Test Equipment	5

Table 22-3: Category B Containers Detailed List of Test Equipment	6

Table 22-4: Unpackaged Equipment Shock Detailed List of Test Equipment	7

- LIST OF FIGURES

Page

Error! No table of figures entries found.

## Test Results Summary

<<Summarize the test results here, including hardware changes or changes in product configuration during the testing.  While this is a summary, it should contain most of the relevant details to the tests and the test results>>

### Column Heading Definitions for Summary of Test Results Table

The following Summary of Test Results table contains these columns of information:

- Section column gives the Section numbers from GR-63-CORE.

- Section Name column gives the Section name from GR-63-CORE.

- Criteria column gives the local number of the requirement (e.g., R3-1) from GR-63-CORE and the absolute number of the requirement (e.g., [2]).

- Results column gives the results of the evaluation (Compliant, Non-compliant, etc.).

- Compliant: The Equipment Under Test met the requirements of the corresponding criteria.

- Non-compliant: The Equipment Under Test did not meet the requirements of the corresponding criteria.

- NA: The criteria were Not Applicable to Equipment Under Test {Explanation Required}

- ENR: An Evaluation, to these criteria, was Not Requested by the customer.

- Page column gives the page number, in this report, for the corresponding criteria.

Table 22-1: Equipment Handling Summary of Test Results

| ##### Section | ##### Section Name | ##### Criteria | ##### Results #### Pass/ Fail/ NA | ##### Comments | ##### Page |
| --- | --- | --- | --- | --- | --- |
| 4.3 | Equipment Handling Criteria | - | - |  | - |
| 4.3.1 | Packaged Equipment Shock Criteria | - | - |  | - |
| 4.3.1.1 | Category A Containers | R4-80 [107] |  |  | 5 |
| 4.3.1.2 | Category B Containers | R4-81 [108] |  |  | 6 |
| 4.3.2 | Unpackaged Equipment Shock Criteria | R4-82 [109] |  |  | 7 |

NA: Not Applicable; ENR: Evaluation Not Requested

## Overview

### Project Objective

Testing was performed to determine if the <Product Name> met the requirements for Section 4.3, Equipment Handling Criteria, of GR-63-CORE, Issue 4, April 2012.

### Equipment Configuration and Test Conditions

<Specify number of samples tested>

<<Describe EUT Configuration using photographs, diagrams, words, or any combination thereof>>

<<Detailed pack-fill information should be entered in a table in Appendix A at the end of this section>>

### Equipment Operating Conditions

<<Place pictures and diagrams of EUT operational set-up>>

### Pass/ Fail Criteria

<<Provide pass/fail criteria for the test>>

## Category A Containers (4.3.1.1)

### Criteria:

R4-80 [107] 	The packaged equipment shall not sustain any physical damage or deteriorate in functional performance when subjected to free-fall shock levels of Table 5-7.

##### Category A Container Packaged Equipment Shock Criteria

| Mass (kg) | Drop Height (mm) | Handling Mode |
| --- | --- | --- |
| < 10 (< 22.1 lb) | 1000 (39.4 in) | One person throwing |
| < 15 (< 33.1lb) | 1000 (39.4 in) | One person carrying |
| < 20 (< 44.1 lb) | 800 (31.5 in) |  |
| < 30 (< 66.2 lb) | 600 (23.6 in) | Two persons carrying |
| < 40 (< 88.2 lb) | 500 (19.7 in) |  |
| < 50 (< 110.3 lb) | 400 (15.7 in) |  |
| < 100 (< 220.5 lb) | 300 (11.8 in) |  |

### Test Location

The following evaluation was performed by (Engineer Name) between/on date(s) at the <ITL Name and Address>.

### Test Method

<<Describe test method in detail>>

<< Include any additional test conditions (e.g. line burner placement) from the NEBS Compliance Checklist which pertain to the environmental criteria>>

<<State if testing to the GR-63-CORE test method and describe any deviations from the GR documented test method>>

### Test Results

The <Product Name> is compliant/ not compliant with R4-80 [107].

<<Describe test results in detail where relevant. Include graphs, tables, scans, chart recorder data, etc. of test results>>

### Test Equipment Used

Table 22-2: Category A Containers Detailed List of Test Equipment

| Description | Serial Number | Manufacturer | Model | Cal. Date | Cal. Due |
| --- | --- | --- | --- | --- | --- |

<<Fill out the table of test equipment used for this test ONLY>>

## Category B Containers (4.3.1.2)

### Criteria:

R4-81 [108] 	The packaged equipment shall not sustain any physical damage or deteriorate in functional performance when subjected to free-fall shocks to the normal rest surface at levels expected during shipping and handling.

Category B Container Packaged Equipment Shock Criteria

| Mass (kg) | Drop Height (mm) |
| --- | --- |
| Any | 100 (3.9 in) |

### Test Location

The following evaluation was performed by (Engineer Name) between/on date(s) at the <ITL Name and Address>.

### Test Method

<<Describe test method in detail>>

<< Include any additional test conditions (e.g. line burner placement) from the NEBS Compliance Checklist which pertain to the environmental criteria>>

<<State if testing to the GR-63-CORE test method and describe any deviations from the GR documented test method>>

### Test Results

The <Product Name> is compliant/ not compliant with Requirement R4-81 [108].

<<Describe test results in detail where relevant. Include graphs, tables, scans, chart recorder data, etc. of test results>>

### Test Equipment Used

Table 22-3: Category B Containers Detailed List of Test Equipment

| Description | Serial Number | Manufacturer | Model | Cal. Date | Cal. Due |
| --- | --- | --- | --- | --- | --- |

<<Fill out the table of test equipment used for this test ONLY>>

## Unpackaged Equipment Shock Criteria (4.3.2)

### Criteria:

R4-67 [109] 	The unpackaged equipment shall not sustain any physical damage or deteriorate in functional performance when subjected to shock levels expected during installation activities.

Minor cosmetic damage, such as scratches, dings, and nicks, do not necessarily constitute nonconformance.

### Test Location

The following evaluation was performed by (Engineer Name) between/on date(s) at the <ITL Name and Address>.

### Test Method

<<Describe test method in detail>>

<< Include any additional test conditions (e.g. line burner placement) from the NEBS Compliance Checklist which pertain to the environmental criteria>>

<<State if testing to the GR-63-CORE test method and describe any deviations from the GR documented test method>>

### Test Results

The <Product Name> is compliant/not compliant with Requirement R4-67 [109] was not applicable to the <Product Name>.

<<Describe test results in detail where relevant. Include graphs, tables, scans, chart recorder data, etc. of test results>>

### Test Equipment Used

Table 22-4: Unpackaged Equipment Shock Detailed List of Test Equipment

| Description | Serial Number | Manufacturer | Model | Cal. Date | Cal. Due |
| --- | --- | --- | --- | --- | --- |

<<Fill out the table of test equipment used for this test ONLY>>

<<Insert tables with detailed description of equipment pack fill>>